## Slide 1: Aktas
Pure
FPLC
Purifier
Basic
Xpress – dual system for multi-step purification

## Slide 2: Shimadzu HPLC

## Slide 3: Roller Bottle Rigs

## Slide 4: Roller bottles arriving in the wetlab

## Slide 5: CO2 gassed incubators for Mammalian cells growing in suspension
Notes: We currently have three Infors incubators, but will be taking delivery of two more on 21st December 2020

## Slide 6: Floor-Standing Centrifuges

## Slide 7: Ultracentrifuges

## Slide 8: Cost of Beckman Rotors Cost of Beckman Rotors JLA 8.1000 - £13960.00 JLA9.1000 - £11560.00 JA30.50 - £9062.00 JA14.50 - £5593.00 JA25.50 - £3628.00 C0650 - £1044.00

## Slide 9: Buffer Exchange QuixStand and Akta Flux

## Slide 10: Biophysics

## Slide 11
Sartorius Octet RED96e System
Bio-Layer Interferometry (BLI)
8 channels, 96-well plate, 64 kinetic experiments in 90 minutes, high throughput
> Measure the binding affinity (KD) of proteins
> Competition assay of proteins
(For example: antibodies of an antigen)
Competition assay of SARS-CoV-2 RBD antibodies
Measure binding KD of RBD with ACE2
Octet RED96e

## Slide 12: Bio-Layer Interferometry (BLI)
Label- free biomolecular interactions
  BLItz: 4 µL sample, 1 read at a time

## Slide 13: Thermofluor and DLS
Thermofluor – Protein stability and impact of ligand binding.
DLS – Determine size and distribution of your protein in solution - aggregation

## Slide 14: UNCLE
Uncle combines 3 different measurement modes:
Fluorescence
SLS
DLS
for data in a few hours and using far less protein than all three individually.

## Slide 15: Tecan Plate Reader
Measure Fluorescence/Absorbance at multiple wavelengths.
Limited by the filters we have, but wide bandwidth.
Highly sensitive

## Slide 16: Useful links for equipment
BLI
https://www.moleculardevices.com/resources
UNCLE
https://www.unchainedlabs.com/uncle/

## Slide 18: Cost of Annual Service Contracts
Akta Pure systems –Tom and Jerry £4000 each
Older Akta Systems - full service contract £15,287
Beckman Centrifuges £18,000
3 Infors shaking incubators £780
All tissue culture incubators -£100 each

## Slide 19: Training links
https://www.well.ox.ac.uk/internal/health-safety/new-centre-members

## Slide 20: Contacts
Anything equipment related:
  labagenda-admin@strubi.ox.ac.uk
If things are running low:
  mjones@strubi.ox.ac.uk
Other lab issues:
  The Council of Elrond

## Slide 21: For you to do
Record your use of equipment on Bookit and report any equipment failure as soon as possible
Make sure you have the training needed to use equipment and keep a record of your training
If It’s running low, let Margaret know
If you want to suggest new equipment , consult other people, let labagenda-admin and Margaret know and discuss arranging a demo (companies are very happy to demonstrate equipment)

## Slide 23: LEAF initiative